Cushion Comparison Table

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| \*Suggested risk rating only as a guide and does not replace thorough clinical reasoning and trial of an individual’s needs  NB: Incontinence covers can be ordered on request for most cushions  NB: Other brands of cushions can also be ordered, but are cat 2 requiring delegate approval before purchase | | | | | | |  |  |  |  | | --- | --- | --- | --- | | **Mm to inches** | | | **ROHO cells in mm** | | 200mm - 8” | 380mm - 15” | 510mm - 20” | 6 cells – 300mm | | 230mm - 9” | 405mm - 16” | 535mm 21” | 8 cells – 390mm | | 255mm - 10” | 430mm - 17” | 560mm 22” | 9 cells – 430mm | | 280mm - 11” | 460mm - 18” | 585mm 23” | 10 cells – 470mm | | 305mm - 12” | 480mm - 19” | 610mm 24” | 11 cells – 500mm | | 355mm - 14” |  |  | 12 cells = 540mm | | | | | | | | |
| **Type** | **Sizes as usually available (mm or cell number)**  **Alternative sizes can be ordered on request but there may be a delay in supply** | | | | | | | **Cushion height** | **Stated Weight capacity** | | **Suggested\* Pressure Risk rating** | **Approx cushion weight** | **Review cushion after** |
| **Foam (38:200) <75kg Blue** | 200x200  AE04AI | 255x255  AE04AJ | 305x305  AE04AK | 405x405  AE04AO | 460x405  AE04AM | | 460x460  AE04AN | 50mm | 75kg | | Comfort | <500g | 1 year |
| **Foam (50:250) >75kg Black** | 405x405  AE04AO | 460x405  AE04AP | 460x460  AE04AQ | 535x405  AE04AR | 535x 460  AE04AS | |  | 50mm | 120kg | | Comfort | <500g | 1 year |
| **Air** | | | | | | | | | | | | | |
| **Star cushion insert** | 8x6cell  AE04D A |  |  |  |  | |  | 50 &100 | Unlimited | High | | <1kg | 2 years |
| **ROHO LP** | 9x9cell  AE04Y A | 10x9cell  AE04BC A | 10x10 cell  AE04BD A | 11x10cell  AE04BE A |  | |  | 50mm | Unlimited | Medium | | 1.5kg | 2 years |
| **ROHO HP** | 9x9cell  AE04Z A | 10x9cell  AE04AH A | 10x10 cell AE04BF A | 11x10cell  AE04BG A |  | |  | 100mm | Unlimited | High | | 2kg | 2 years |
| **ROHO Quadtro** | 9X9cell  AE04BI A | 10x9cell  AE04BJ A | 10x10 cell  AE04BK A | 11x10cell  AE04BL A | 12x10cell  AE04BLA A | |  | 100mm | Unlimited | High | | 2kg | 3 years |
| **Combination** | | | | | | | | | | | | | |
| **ROHO hybrid elite** | 405x405  AE04BR A | 460x405  AE04BRA A | 510x460  AE04BT A |  |  | |  | 75mm | 225kg | High | | 1.6kg | 2 years |
| **Jay 2 (std)** | 405x405  AE04BU A | 460x405  AE04BUA A | 510x460  AE04BV A |  |  | |  | 65mm | 113kg | Medium | | 2.5kg | 2 years |
| **Jay 2 deep** | 405x405  AE04BX A | 460x405  AE04BXA A | 510x460  AE04BZ A |  |  | |  | 115mm | 113kg | High | | 2.85kg | 2 years |
| **Jay Ion** | 405x405  AE04DD A | 460x405  AE04DE A | 460x460  AE04DF A | 510x480  AE04DG A |  | |  | 100mm | 136kg | low | | 1.2kg | 2 years |
| **Jay Fusion** | 510X460\*  AE04DA A | 560X460~  AE04DB A | 610x480~  AE04DC A |  |  | |  | 100mm | 136kg\*  225kg~ | Medium | | 2.4kg | 2 years |
| **Bariatric** | | | | | | | | | | | | | |
| **Star Cushion LP** | 560X400  AE04PB A | 560X460  AE04PC A |  |  |  | |  | 50mm | Unlimited | High | | 2kg | 2 years |
| **Star Cushion HP** | 560X400  AE04P A | 560X460  AE04PA A |  |  |  | |  | 100mm | Unlimited | Medium | | 1.36kg | 2 years |